## Calculations
Plant X Testing for HP Turbine Leakage Flows (Btu Units)
Using the new Lang/Canning Method - see ASME 2010 Paper POWER2010-27252. Example data sets from January 2005. Revision 26.
[47 empty] | Test | Inlet Enthalpy | HP Efficiencies | Inlet Enthalpy | IP Efficiencies |  |  | HRFlowA1 = | 825114.7395
Units = | BTU |  | Note: All cells marked in GREEN contain state calls |  |  |  |  | Ref Bell Seal (estimate) = |  | Ref Bal.Piston (estimate) = | [17 empty] | IV deltaP = | [6 empty] | Throttle deltaP = | [11 empty] | 1040F / 1040F | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  | HRFlowA2 = | 824482.2415
Ref Pressure = | 14.5969 |  | and must be replaced. After replacing, go to | [24 empty] | 0.0055 | [6 empty] | 0.04 | [11 empty] | 1058F / 1024F | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  | HRFlowA3 = | 826289.8988
Ref Temperature = | 86 |  | TOOLS, OPTIONS, and CALCULATION, and |  |  |  |  | 4800 |  | 4800 | [36 empty] | 1024F / 1058F | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  | HRFlowA4 = | 836771.0075
Ref Enthalpy = | #VALUE! |  | change selection from MANUAL to AUTOMATIC. | [43 empty] | 991F / 1047F | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  | HRFlowAavg = | 828789.3295
Ref Entropy = | #VALUE! | [46 empty] | Mean Eff. = | #VALUE! |  | #VALUE!
Ref Abs Temp = | 459.67 | [52 empty] | Avg. Convergence | 94.6 | 0.0576 | 47738.2654
Atm.Press = | 0 | [all measured pressures were Absolute] | [43 empty] | W Seal Inc = | [8 empty] | 70 | 0.0576 | 47738.2654
[17 empty] | HRFlowAx | [9 empty] | HRHAx | HRSAx |  |  |  | THHAx |  |  | HPbSAx | IPSAx |  |  | IPHSAx |  | IPbowlHSAx | IPHAx | IPxAx |  |  | 8000
|  | Average = | [36 empty] | Using Source | Using IP Bowl | Using IP Bowl | [7 empty] | Using Source | Using Weighted | Using Un-Weighted
|  | 924938.1154 | [36 empty] | Conditions | Conditions | Conditions | [7 empty] | Conditions | Source | IP Bowl
[5 empty] | Spray Flow | Main Steam to | Throttle Valve | HP Bell Seal | Top Heater | HP Bal. Piston | X-Cyl. & LP Bal. | HP Turbine | HP Turbine | Cold Reheat | Hot Reheat | Intercept Valve | Hot Reheat | [9 empty] | Hot Reheat | IP Bowl | Hot Reheat | IP Bowl | Ise H from IP Bowl | Throttle & <D> | Throttle & <D> | Ise H from Throttle | HP Bowl & <D> | <D> at IP Bowl | Throttle & <D> | HP Exhaust | Ise H from <D> | <D> at IP Bowl | Ise H from <D> | IP Exhaust | IP Exhaust | IP Exhaust | HP Cyl. | <D> Seal | Hot Reheat | Wt. Inlet | Wt. Shell Isent. | Conditions - | Conditions - | Weighted Total | Exergy
Test | Gross | Main Steam | Spray Flow | Spray Flow | to HP By-Pass | Gland Header | Lkg <A> & <B> | Lkg <G> | Extraction | Flow to IP <F> | Piston Lkg <C> | HP Seals <J> | LP Seals <E> | Drains <U> | Drains <Y> | Lkg. <N> | Flow from | Throttle | Throttle | HP Exhaust | HP Exhaust | Hot Reheat | Hot Reheat | IP Mid-Extract. | IP Exhaust | IP Exhaust | Enthalpy | Entropy | Exergy | Temperature | at IP Exhaust | Enthalpy | Entropy | at HP Exhaust | Entropy | Entropy | Exergy | Enthalpy | at IP Exhaust | Entropy | at IP Exhaust | Enthalpy | Entropy | Exergy | Efficiency | Flow, corr. | Flow from | IP Enthalpy | IP Enthalpy | IP Efficiency | IP Efficiency | IP Inlet Exergy | Effectiveness |  |  |  | Assumed IP | Calc | Calc | Assumed IP | Calc | Calc
Time | Power |  | to RH 1B | to RH II | (assumed) | (assumed) | (assumed) | (assumed) | (calc) | (assumed) | (assumed) | (assumed) | (assumed) | (assumed) | (assumed) | (assumed) | Stm Gen + <D> | Pressure | Temperature | Pressure | Temperature | Pressure | Temperature | Pressure | Pressure | Temperature | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (assumed) | Stm Gen | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) |  |  |  | Effectiveness | PSY(0) S(m) | PSY(0) T(m) | Effectiveness | PSY(0) S(m) | Seal Flow
& Date | MWe | lbm/hr | lbm/hr | lbm/hr | lbm/hr | lbm/hr | lbm/hr | lbm/hr | lbm/hr | lbm/hr | lbm/hr | lbm/hr | lbm/hr | lbm/hr | lbm/hr | lbm/hr | lbm/hr | psiA | deg-F | psiA | deg-F | psiA | deg-F | psiA | psiA | deg-F | Btu/lbm | Btu/lbm-R | Btu/lbm | deg-F | Btu/lbm | Btu/lbm | Btu/lbm-R | Btu/lbm | Btu/lbm-R | Btu/lbm-R | Btu/lbm | Btu/lbm | Btu/lbm | Btu/lbm-R | Btu/lbm | Btu/lbm | Btu/lbm-R | Btu/lbm | % | lbm/hr | lbm/hr | Btu/lbm | Btu/lbm | % | % | Btu/lbm | % |  |  |  | % | (mass ratio) | (mass ratio) | % | (mass ratio) | lbm/hr
11:10:11 to 11:19:11 | 154 | 920110.6536 | 753.9809 | 2611.1549 | 0 | 0 | 2000 | 4204.1279 | 81556.922 | 4800 | 0 | 3000 | 800 | 0 | 0 | 2000 | 825114.7395 | 2324.752 | 1040.117 | 539.9175 | 660.173 | 501.2591 | 1039.496 | 248.7977 | 87.0372 | 582.3518 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 825114.7395 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 100 | #VALUE! | #VALUE! | 98 | #VALUE! | #VALUE!
2005-01-25 | [45 empty] | 8000 | 817114.7395 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 98 | #VALUE! | #VALUE! | 97.4 | #VALUE! | #VALUE!
Test #1 | [18 empty] | Data Set | [26 empty] | 16000 | 809114.7395 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | aA1 = | #VALUE! |  | 96 | #VALUE! | #VALUE! | 96.8 | #VALUE! | #VALUE!
[19 empty] | 1040F / 1039F | [26 empty] | 24000 | 801114.7395 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | bA1 = | #VALUE! |  | 94 | #VALUE! | #VALUE! | 96.2 | #VALUE! | #VALUE!
[46 empty] | 32000 | 793114.7395 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | dA1 = | #VALUE! |  | 92 | #VALUE! | #VALUE! | 95.6 | #VALUE! | #VALUE!
[46 empty] | 40000 | 785114.7395 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | eA1 = | #VALUE! |  | 90 | #VALUE! | #VALUE! | 95 | #VALUE! | #VALUE!
[46 empty] | 48000 | 777114.7395 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | PSYA1 = | 0.1152 |  | 88 | #VALUE! | #VALUE! | 94.4 | #VALUE! | #VALUE!
[46 empty] | 56000 | 769114.7395 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 86 | #VALUE! | #VALUE! | 93.8 | #VALUE! | #VALUE!
[46 empty] | 64000 | 761114.7395 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Avg. Effectiveness A1 = | #VALUE! |  | 84 | #VALUE! | #VALUE! | 93.2 | #VALUE! | #VALUE!
[46 empty] | 72000 | 753114.7395 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 82 | #VALUE! | #VALUE! | 92.6 | #VALUE! | #VALUE!
[46 empty] | 80000 | 745114.7395 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 88000 | 737114.7395 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | 1040F / 1039F Real | 1040F / 1039F Imaginary |  |  | 1040F / 1039F IP Effectiveness
[46 empty] | 96000 | 729114.7395 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 104000 | 721114.7395 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 112000 | 713114.7395 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 120000 | 705114.7395 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[50 empty] | 1040F / 1039F Weighted B/K | 1040F / 1039F Original B/K
12:50:00 to 13:10:00 | 154 | 914253.4126 | 523.8183 | 6373.1226 | 0 | 0 | 2000 | 4138.2014 | 79929.9106 | 4800 | 0 | 3000 | 800 | 0 | 0 | 2000 | 824482.2415 | 2321.3581 | 1057.676 | 536.9007 | 673.817 | 499.3069 | 1024.43 | 248.0726 | 87.0372 | 572.702 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 824482.2415 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 100 | #VALUE! | #VALUE! | 98 | #VALUE! | #VALUE!
2005-01-25 | [45 empty] | 8000 | 816482.2415 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 98 | #VALUE! | #VALUE! | 97.4 | #VALUE! | #VALUE!
Test #2 | [18 empty] | Data Set | [26 empty] | 16000 | 808482.2415 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | aA2 = | #VALUE! |  | 96 | #VALUE! | #VALUE! | 96.8 | #VALUE! | #VALUE!
[19 empty] | 1058F / 1024F | [26 empty] | 24000 | 800482.2415 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | bA2 = | #VALUE! |  | 94 | #VALUE! | #VALUE! | 96.2 | #VALUE! | #VALUE!
[46 empty] | 32000 | 792482.2415 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | dA2 = | #VALUE! |  | 92 | #VALUE! | #VALUE! | 95.6 | #VALUE! | #VALUE!
[46 empty] | 40000 | 784482.2415 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | eA2 = | #VALUE! |  | 90 | #VALUE! | #VALUE! | 95 | #VALUE! | #VALUE!
[46 empty] | 48000 | 776482.2415 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | PSYA2 = | 0.1152 |  | 88 | #VALUE! | #VALUE! | 94.4 | #VALUE! | #VALUE!
[46 empty] | 56000 | 768482.2415 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 86 | #VALUE! | #VALUE! | 93.8 | #VALUE! | #VALUE!
[46 empty] | 64000 | 760482.2415 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Avg. Effectiveness A2 = | #VALUE! |  | 84 | #VALUE! | #VALUE! | 93.2 | #VALUE! | #VALUE!
[46 empty] | 72000 | 752482.2415 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 82 | #VALUE! | #VALUE! | 92.6 | #VALUE! | #VALUE!
[46 empty] | 80000 | 744482.2415 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 88000 | 736482.2415 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | 1058F / 1024F Real | 1058F / 1024F Imaginary |  |  | 1058F / 1024F IP Effectiveness
[46 empty] | 96000 | 728482.2415 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 104000 | 720482.2415 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 112000 | 712482.2415 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 120000 | 704482.2415 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[50 empty] | 1058F / 1024F Weighted B/K | 1058F / 1024F Original B/K
14:35:00 to 14:55:00 | 154 | 926031.3877 | 0 | 2666.7113 | 0 | 0 | 2000 | 4790.9028 | 85017.2974 | 4800 | 0 | 3000 | 800 | 0 | 0 | 2000 | 826289.8988 | 2323.889 | 1024.565 | 561.2671 | 655.331 | 505.0794 | 1058.126 | 250.4947 | 87.9509 | 596.813 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 826289.8988 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 100 | #VALUE! | #VALUE! | 98 | #VALUE! | #VALUE!
2005-01-25 | [45 empty] | 8000 | 818289.8988 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 98 | #VALUE! | #VALUE! | 97.4 | #VALUE! | #VALUE!
Test #3 | [18 empty] | Data Set | [26 empty] | 16000 | 810289.8988 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | aA3 = | #VALUE! |  | 96 | #VALUE! | #VALUE! | 96.8 | #VALUE! | #VALUE!
[19 empty] | 1025F / 1058F | [26 empty] | 24000 | 802289.8988 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | bA3 = | #VALUE! |  | 94 | #VALUE! | #VALUE! | 96.2 | #VALUE! | #VALUE!
[46 empty] | 32000 | 794289.8988 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | dA3 = | #VALUE! |  | 92 | #VALUE! | #VALUE! | 95.6 | #VALUE! | #VALUE!
[46 empty] | 40000 | 786289.8988 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | eA3 = | #VALUE! |  | 90 | #VALUE! | #VALUE! | 95 | #VALUE! | #VALUE!
[46 empty] | 48000 | 778289.8988 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | PSYA3 = | 0.1152 |  | 88 | #VALUE! | #VALUE! | 94.4 | #VALUE! | #VALUE!
[46 empty] | 56000 | 770289.8988 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 86 | #VALUE! | #VALUE! | 93.8 | #VALUE! | #VALUE!
[46 empty] | 64000 | 762289.8988 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Avg. Effectiveness A3 = | #VALUE! |  | 84 | #VALUE! | #VALUE! | 93.2 | #VALUE! | #VALUE!
[46 empty] | 72000 | 754289.8988 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 82 | #VALUE! | #VALUE! | 92.6 | #VALUE! | #VALUE!
[46 empty] | 80000 | 746289.8988 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[36 empty] | ` | [9 empty] | 88000 | 738289.8988 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | 1025F / 1058F Real | 1025F / 1058F Imaginary |  |  | 1025F / 1058F IP Effectiveness
[46 empty] | 96000 | 730289.8988 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 104000 | 722289.8988 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 112000 | 714289.8988 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | NOT USED
[35 empty] | ` | [10 empty] | 120000 | 706289.8988 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | BAD DATA INDICATED
[50 empty] | 1025F / 1058F Weighted B/K | 1025F / 1058F Original B/K
16:24:00 to 16:39:00 | 154 | 939357.0078 | 0 | 2492.1052 | 0 | 0 | 2000 | 4889.3365 | 87588.769 | 4800 | 0 | 3000 | 800 | 0 | 0 | 2000 | 836771.0075 | 2322.5692 | 991.508 | 566.7785 | 629.177 | 507.7916 | 1047.326 | 252.8298 | 88.8066 | 587.525 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 836771.0075 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 100 | #VALUE! | #VALUE! | 98 | #VALUE! | #VALUE!
2005-01-25 | [45 empty] | 8000 | 828771.0075 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 98 | #VALUE! | #VALUE! | 97.4 | #VALUE! | #VALUE!
Test #4 | [18 empty] | Data Set | [26 empty] | 16000 | 820771.0075 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | aA4 = | #VALUE! |  | 96 | #VALUE! | #VALUE! | 96.8 | #VALUE! | #VALUE!
[19 empty] | 992F / 1047F | [26 empty] | 24000 | 812771.0075 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | bA4 = | #VALUE! |  | 94 | #VALUE! | #VALUE! | 96.2 | #VALUE! | #VALUE!
[46 empty] | 32000 | 804771.0075 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | dA4 = | #VALUE! |  | 92 | #VALUE! | #VALUE! | 95.6 | #VALUE! | #VALUE!
[46 empty] | 40000 | 796771.0075 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | eA4 = | #VALUE! |  | 90 | #VALUE! | #VALUE! | 95 | #VALUE! | #VALUE!
[46 empty] | 48000 | 788771.0075 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | PSYA4 = | 0.1152 |  | 88 | #VALUE! | #VALUE! | 94.4 | #VALUE! | #VALUE!
[46 empty] | 56000 | 780771.0075 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 86 | #VALUE! | #VALUE! | 93.8 | #VALUE! | #VALUE!
[46 empty] | 64000 | 772771.0075 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Avg. Effectiveness A4 = | #VALUE! |  | 84 | #VALUE! | #VALUE! | 93.2 | #VALUE! | #VALUE!
[46 empty] | 72000 | 764771.0075 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 82 | #VALUE! | #VALUE! | 92.6 | #VALUE! | #VALUE!
[46 empty] | 80000 | 756771.0075 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 88000 | 748771.0075 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | 992F / 1047F Real | 992F / 1047F Imaginary |  |  | 992F / 1047F IP Effectiveness
[46 empty] | 96000 | 740771.0075 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 104000 | 732771.0075 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 112000 | 724771.0075 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 120000 | 716771.0075 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[50 empty] | 992F / 1047F Weighted B/K | 992F / 1047F Original B/K
Note on R11: tc: Hot Reheat Flow, Test Series A, Run x
Note on AP11: tc: Must be the same as Column AF
Insert Resolved Flow Ratio Here