## Calculations
Plant X Testing for HP Turbine Leakage Flows (SI Units)
Using the new Lang/Canning Method - see ASME 2010 Paper POWER2010-27252. Example data sets from January 2005. Revision 26.
[47 empty] | Test | Inlet Enthalpy | HP Efficiencies | Inlet Enthalpy | IP Efficiencies |  |  | HRFlowA1 = | 103.9545
Units = | SI |  | Note: All cells marked in GREEN contain state calls |  |  |  |  | Ref Bell Seal (est) = |  | Ref Bal.Piston (est) = | [17 empty] | IV deltaP = | [6 empty] | Throttle deltaP = | [11 empty] | 560C / 560C | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  | HRFlowA2 = | 103.8747
Ref Pressure = | 1.0132 |  | and must be replaced. After replacing, go to | [24 empty] | 0.0055 | [6 empty] | 0.04 | [11 empty] | 570C / 551C | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  | HRFlowA3 = | 104.1031
Ref Temperature = | 30 |  | TOOLS, OPTIONS, and CALCULATION, and |  |  |  |  | 0.6 |  | 0.6 | [36 empty] | 551C / 570C | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  | HRFlowA4 = | 105.4238
Ref Enthalpy = | #VALUE! |  | change selection from MANUAL to AUTOMATIC. | [43 empty] | 533C / 564C | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  | HRFlowAavg = | 104.4177
Ref Entropy = | #VALUE! | [45 empty] | Mean Eff. = |  | #VALUE! |  | #VALUE!
Ref Abs Temp = | 273.15 | [52 empty] | Avg. Convergence | 94.6 | 0.0577 | 6.0249
Atm.Press = | 0 | [all measured pressures were Absolute] | [43 empty] | W Seal Inc = | [8 empty] | 70 | 0.0577 | 6.0249
[17 empty] | HRFlowAx | [9 empty] | HRHAx | HRSAx |  |  |  | THHAx |  |  | HPbSAx | IPSAx |  |  | IPHSAx |  | IPbowlHSAx | IPHAx | IPxAx |  |  | 1
|  | Average = | [36 empty] | Using Source | Using IP Bowl | Using IP Bowl | [7 empty] | Using Source | Using Weighted | Using Un-Weighted
|  | 116.5403 | [36 empty] | Conditions | Conditions | Conditions | [7 empty] | Conditions | Source | IP Bowl
[5 empty] | Spray Flow | Main Steam to | Throttle Valve | HP Bell Seal | Top Heater | HP Bal. Piston | X-Cyl. & LP Bal. | HP Turbine | HP Turbine | Cold Reheat | Hot Reheat | Intercept Valve | Hot Reheat | [9 empty] | Hot Reheat | IP Bowl | Hot Reheat | IP Bowl | Ise H from IP Bowl | Throttle & <D> | Throttle & <D> | Ise H from Throttle | HP Bowl & <D> | <D> at IP Bowl | Throttle & <D> | HP Exhaust | Ise H from <D> | <D> at IP Bowl | Ise H from <D> | IP Exhaust | IP Exhaust | IP Exhaust | HP Cyl. | <D> Seal | Hot Reheat | Wt. Inlet | Wt. Shell Isent. | Conditions - | Conditions - | Weighted Total | Exergy
Test | Gross | Main Steam | Spray Flow | Spray Flow | to HP By-Pass | Gland Header | Lkg <A> & <B> | Lkg <G> | Extraction | Flow to IP <F> | Piston Lkg <C> | HP Seals <J> | LP Seals <E> | Drains <U> | Drains <Y> | Lkg. <N> | Flow from | Throttle | Throttle | HP Exhaust | HP Exhaust | Hot Reheat | Hot Reheat | IP Mid-Extract. | IP Exhaust | IP Exhaust | Enthalpy | Entropy | Exergy | Temperature | at IP Exhaust | Enthalpy | Entropy | at HP Exhaust | Entropy | Entropy | Exergy | Enthalpy | at IP Exhaust | Entropy | at IP Exhaust | Enthalpy | Entropy | Exergy | Efficiency | Flow, corr. | Flow from | IP Enthalpy | IP Enthalpy | IP Efficiency | IP Efficiency | IP Inlet Exergy | Effectiveness |  |  |  | Assumed IP | Calc | Calc | Assumed IP | Calc | Calc
Time | Power |  | to RH 1B | to RH II | (assumed) | (assumed) | (assumed) | (assumed) | (calc) | (assumed) | (assumed) | (assumed) | (assumed) | (assumed) | (assumed) | (assumed) | Stm Gen + <D> | Pressure | Temperature | Pressure | Temperature | Pressure | Temperature | Pressure | Pressure | Temperature | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) | (assumed) | Stm Gen | (calc) | (calc) | (calc) | (calc) | (calc) | (calc) |  |  |  | Effectiveness | PSY(0) S(m) | PSY(0) T(m) | Effectiveness | PSY(0) S(m) | Seal Flow
& Date | MWe | kg/sec | kg/sec | kg/sec | kg/sec | kg/sec | kg/sec | kg/sec | kg/sec | kg/sec | kg/sec | kg/sec | kg/sec | kg/sec | kg/sec | kg/sec | kg/sec | barA | deg-C | barA | deg-C | barA | deg-C | barA | barA | deg-C | kJ/kg | kJ/kg-K | kJ/kg | deg-C | kJ/kg | kJ/kg | kJ/kg-K | kJ/kg | kJ/kg-K | kJ/kg-K | kJ/kg | kJ/kg | kJ/kg | kJ/kg-K | kJ/kg | kJ/kg | kJ/kg-K | kJ/kg | % | kg/sec | kg/sec | kJ/kg | kJ/kg | % | % | kJ/kg | % |  |  |  | % | (mass ratio) | (mass ratio) | % | (mass ratio) | kg/sec
11:10:11 to 11:19:11 | 154 | 115.932 | 0.095 | 0.329 | 0 | 0 | 0.25 | 0.52553 | 10.276 | 0.6 | 0 | 0.4 | 0.1 | 0 | 0 | 0.25 | 103.9545 | 160.286 | 560.065 | 37.226 | 348.985 | 34.5606 | 559.72 | 17.154 | 6.001 | 305.751 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 103.9545 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 100 | #VALUE! | #VALUE! | 98 | #VALUE! | #VALUE!
2005-01-25 | [45 empty] | 1 | 102.9545 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 98 | #VALUE! | #VALUE! | 97.4 | #VALUE! | #VALUE!
Test #1 | [18 empty] | Data Set | [26 empty] | 2 | 101.9545 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | aA1 = | #VALUE! |  | 96 | #VALUE! | #VALUE! | 96.8 | #VALUE! | #VALUE!
[19 empty] | 560C / 560C | [26 empty] | 3 | 100.9545 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | bA1 = | #VALUE! |  | 94 | #VALUE! | #VALUE! | 96.2 | #VALUE! | #VALUE!
[46 empty] | 4 | 99.9545 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | dA1 = | #VALUE! |  | 92 | #VALUE! | #VALUE! | 95.6 | #VALUE! | #VALUE!
[46 empty] | 5 | 98.9545 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | eA1 = | #VALUE! |  | 90 | #VALUE! | #VALUE! | 95 | #VALUE! | #VALUE!
[46 empty] | 6 | 97.9545 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | PSYA1 = | 0.1154 |  | 88 | #VALUE! | #VALUE! | 94.4 | #VALUE! | #VALUE!
[46 empty] | 7 | 96.9545 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 86 | #VALUE! | #VALUE! | 93.8 | #VALUE! | #VALUE!
[46 empty] | 8 | 95.9545 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Avg. Effectiveness A1 = | #VALUE! |  | 84 | #VALUE! | #VALUE! | 93.2 | #VALUE! | #VALUE!
[46 empty] | 9 | 94.9545 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 82 | #VALUE! | #VALUE! | 92.6 | #VALUE! | #VALUE!
[46 empty] | 10 | 93.9545 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 11 | 92.9545 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | 560C / 560C Real | 560C / 560C Imaginary |  |  | 560C / 560C IP Effectiveness
[46 empty] | 12 | 91.9545 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 13 | 90.9545 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 14 | 89.9545 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 15 | 88.9545 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[50 empty] | 560C / 560C Weighted B/K | 560C / 560C Original B/K
12:50:00 to 13:10:00 | 154 | 115.194 | 0.066 | 0.803 | 0 | 0 | 0.25 | 0.51729 | 10.071 | 0.6 | 0 | 0.4 | 0.1 | 0 | 0 | 0.25 | 103.8747 | 160.052 | 569.82 | 37.018 | 356.565 | 34.426 | 551.35 | 17.104 | 6.001 | 300.39 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 103.8747 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 100 | #VALUE! | #VALUE! | 98 | #VALUE! | #VALUE!
2005-01-25 | [45 empty] | 1 | 102.8747 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 98 | #VALUE! | #VALUE! | 97.4 | #VALUE! | #VALUE!
Test #2 | [18 empty] | Data Set | [26 empty] | 2 | 101.8747 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | aA2 = | #VALUE! |  | 96 | #VALUE! | #VALUE! | 96.8 | #VALUE! | #VALUE!
[19 empty] | 570C / 551C | [26 empty] | 3 | 100.8747 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | bA2 = | #VALUE! |  | 94 | #VALUE! | #VALUE! | 96.2 | #VALUE! | #VALUE!
[46 empty] | 4 | 99.8747 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | dA2 = | #VALUE! |  | 92 | #VALUE! | #VALUE! | 95.6 | #VALUE! | #VALUE!
[46 empty] | 5 | 98.8747 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | eA2 = | #VALUE! |  | 90 | #VALUE! | #VALUE! | 95 | #VALUE! | #VALUE!
[46 empty] | 6 | 97.8747 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | PSYA2 = | 0.1154 |  | 88 | #VALUE! | #VALUE! | 94.4 | #VALUE! | #VALUE!
[46 empty] | 7 | 96.8747 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 86 | #VALUE! | #VALUE! | 93.8 | #VALUE! | #VALUE!
[46 empty] | 8 | 95.8747 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Avg. Effectiveness A2 = | #VALUE! |  | 84 | #VALUE! | #VALUE! | 93.2 | #VALUE! | #VALUE!
[46 empty] | 9 | 94.8747 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 82 | #VALUE! | #VALUE! | 92.6 | #VALUE! | #VALUE!
[46 empty] | 10 | 93.8747 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 11 | 92.8747 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | 570C / 551C Real | 570C / 551C Imaginary |  |  | 570C / 551C IP Effectiveness
[46 empty] | 12 | 91.8747 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 13 | 90.8747 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 14 | 89.8747 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 15 | 88.8747 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[50 empty] | 570C / 551C Weighted B/K | 570C / 551C Original B/K
14:35:00 to 14:55:00 | 154 | 116.678 | 0 | 0.336 | 0 | 0 | 0.25 | 0.59888 | 10.712 | 0.6 | 0 | 0.4 | 0.1 | 0 | 0 | 0.25 | 104.1031 | 160.2265 | 551.425 | 38.698 | 346.295 | 34.824 | 570.07 | 17.271 | 6.064 | 313.785 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 104.1031 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 100 | #VALUE! | #VALUE! | 98 | #VALUE! | #VALUE!
2005-01-25 | [45 empty] | 1 | 103.1031 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 98 | #VALUE! | #VALUE! | 97.4 | #VALUE! | #VALUE!
Test #3 | [18 empty] | Data Set | [26 empty] | 2 | 102.1031 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | aA3 = | #VALUE! |  | 96 | #VALUE! | #VALUE! | 96.8 | #VALUE! | #VALUE!
[19 empty] | 551C / 570C | [26 empty] | 3 | 101.1031 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | bA3 = | #VALUE! |  | 94 | #VALUE! | #VALUE! | 96.2 | #VALUE! | #VALUE!
[46 empty] | 4 | 100.1031 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | dA3 = | #VALUE! |  | 92 | #VALUE! | #VALUE! | 95.6 | #VALUE! | #VALUE!
[46 empty] | 5 | 99.1031 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | eA3 = | #VALUE! |  | 90 | #VALUE! | #VALUE! | 95 | #VALUE! | #VALUE!
[46 empty] | 6 | 98.1031 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | PSYA3 = | 0.1154 |  | 88 | #VALUE! | #VALUE! | 94.4 | #VALUE! | #VALUE!
[46 empty] | 7 | 97.1031 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 86 | #VALUE! | #VALUE! | 93.8 | #VALUE! | #VALUE!
[46 empty] | 8 | 96.1031 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Avg. Effectiveness A3 = | #VALUE! |  | 84 | #VALUE! | #VALUE! | 93.2 | #VALUE! | #VALUE!
[46 empty] | 9 | 95.1031 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 82 | #VALUE! | #VALUE! | 92.6 | #VALUE! | #VALUE!
[46 empty] | 10 | 94.1031 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[36 empty] | ` | [9 empty] | 11 | 93.1031 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | 551C / 570C Real | 551C / 570C Imaginary |  |  | 551C / 570C IP Effectiveness
[46 empty] | 12 | 92.1031 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 13 | 91.1031 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 14 | 90.1031 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | NOT USED
[35 empty] | ` | [10 empty] | 15 | 89.1031 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | BAD DATA INDICATED
[50 empty] | 551C / 570C Weighted B/K | 551C / 570C Original B/K
16:24:00 to 16:39:00 | 154 | 118.357 | 0 | 0.314 | 0 | 0 | 0.25 | 0.61119 | 11.036 | 0.6 | 0 | 0.4 | 0.1 | 0 | 0 | 0.25 | 105.4238 | 160.1355 | 533.06 | 39.078 | 331.765 | 35.011 | 564.07 | 17.432 | 6.123 | 308.625 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 0 | 105.4238 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 100 | #VALUE! | #VALUE! | 98 | #VALUE! | #VALUE!
2005-01-25 | [45 empty] | 1 | 104.4238 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 98 | #VALUE! | #VALUE! | 97.4 | #VALUE! | #VALUE!
Test #4 | [18 empty] | Data Set | [26 empty] | 2 | 103.4238 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | aA4 = | #VALUE! |  | 96 | #VALUE! | #VALUE! | 96.8 | #VALUE! | #VALUE!
[19 empty] | 533C / 564C | [26 empty] | 3 | 102.4238 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | bA4 = | #VALUE! |  | 94 | #VALUE! | #VALUE! | 96.2 | #VALUE! | #VALUE!
[46 empty] | 4 | 101.4238 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | dA4 = | #VALUE! |  | 92 | #VALUE! | #VALUE! | 95.6 | #VALUE! | #VALUE!
[46 empty] | 5 | 100.4238 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | eA4 = | #VALUE! |  | 90 | #VALUE! | #VALUE! | 95 | #VALUE! | #VALUE!
[46 empty] | 6 | 99.4238 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | PSYA4 = | 0.1154 |  | 88 | #VALUE! | #VALUE! | 94.4 | #VALUE! | #VALUE!
[46 empty] | 7 | 98.4238 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 86 | #VALUE! | #VALUE! | 93.8 | #VALUE! | #VALUE!
[46 empty] | 8 | 97.4238 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Avg. Effectiveness A4 = | #VALUE! |  | 84 | #VALUE! | #VALUE! | 93.2 | #VALUE! | #VALUE!
[46 empty] | 9 | 96.4238 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | 82 | #VALUE! | #VALUE! | 92.6 | #VALUE! | #VALUE!
[46 empty] | 10 | 95.4238 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 11 | 94.4238 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | 533C / 564C Real | 533C / 564C Imaginary |  |  | 533C / 564C IP Effectiveness
[46 empty] | 12 | 93.4238 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 13 | 92.4238 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 14 | 91.4238 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[46 empty] | 15 | 90.4238 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[50 empty] | 533C / 564C Weighted B/K | 533C / 564C Original B/K
Note on R11: tc: Hot Reheat Flow, Test Series A, Run x
Note on AP11: tc: Must be the same as Column AF
Insert Resolved Flow Ratio Here